Most papers stop at detection part, but since we are working on an advanced security system, we provide a complete platform (monitoring + detection + response)

Multi-Layer Detection (Network + Physical Process)

Almost no papers combine all three domains simultaneously.

| Feature | Existing Papers | Your System |
| --- | --- | --- |
| Detection | Yes | Yes |
| Multi-source data | Rare | Yes |
| Explainable AI | No | Yes |
| Autonomous response | Rare | Yes |
| Digital twin training | Limited | Yes |
| Full security platform | No | Yes |

| Component | Algorithm |
| --- | --- |
| Sensor anomaly detection | LSTM / GRU Autoencoder |
| Network intrusion detection | Transformer / BERT |
| Topology monitoring | Graph Neural Network |
| Threat correlation | Weighted fusion scoring |
| Explainability | SHAP |
| Response system | Rule engine / RL |

## Datasets

| Dataset | Purpose |
| --- | --- |
| SWaT | Industrial sensor anomaly detection |
| WADI | Water distribution ICS attacks |
| CICIDS | Network intrusion detection |

## Methodology

The proposed system follows a multi-layer cyber-physical security approach to detect and respond to attacks targeting Industrial Control Systems (ICS). The methodology integrates data collection, preprocessing, machine learning-based anomaly detection, threat correlation, and automated response.

System Data Acquisition

The first step is collecting data from the industrial environment.

Data Sources

The system gathers information from three domains:

1. Network Layer

- Industrial communication packets

- Protocol commands (Modbus, DNP3, OPC-UA)

2. Physical Process Layer

- Sensor readings (pressure, temperature, flow rate, tank level)

3. Device / Control Layer

- PLC commands

- Device logs and communication events

Data Collection Techniques

Network Tap / Port Mirroring
Packet Capture Tools
Industrial Gateway Monitoring
Sensor Data Streams

The collected data is stored in a central monitoring server for further processing.

2. Data Preprocessing and Feature Engineering

Raw industrial data cannot be used directly for machine learning.

Steps

Data Cleaning

- Remove missing values

- Handle noisy sensor readings

Normalization

- Scale sensor values between 0 and 1

Feature Extraction

Examples of features extracted:

Network Features

- source IP

- destination IP

- packet size

- protocol type

- command type

Process Features

- pressure value

- flow rate

- temperature

- actuator state

Temporal Features

- sensor change rate

- command frequency

- time interval between packets

After feature engineering, the data is converted into structured input vectors for the machine learning models.

3. Model Training Phase

The system trains multiple machine learning models to understand normal behavior of industrial systems.

Model 1 — Sensor Anomaly Detection

Algorithm used:

LSTM / GRU Autoencoder

Purpose:
Detect anomalies in industrial process variables.

Training process:

Normal sensor data → Train Autoencoder
Model learns normal process patterns
High reconstruction error → anomaly

Model 2 — Network Intrusion Detection

Algorithm used:

Transformer / BERT-based IDS

Purpose:
Detect malicious commands and abnormal network communication.

Training process:

Network packet sequences
→ Tokenization
→ Transformer embedding
→ Classification

The model learns normal industrial network traffic patterns.

Model 3 — Topology-Based Detection

Algorithm used:

Graph Neural Network (GNN)

Industrial networks are represented as graphs:

Nodes = PLCs, sensors, devices
Edges = communication links

The GNN learns normal device communication relationships.

Abnormal connections indicate possible attacks.

4. Real-Time Anomaly Detection

Once models are trained, the system performs real-time monitoring.

Incoming industrial data flows through the detection pipeline.

Detection flow:

Industrial Data
↓
Feature Extraction
↓
Sensor Model (LSTM)
Network Model (Transformer)
Topology Model (GNN)
↓
Generate anomaly scores

Each model produces an anomaly score.

5. Threat Fusion and Risk Scoring

Instead of relying on a single model, the system combines outputs from multiple models.

Threat Fusion Algorithm

ThreatScore =
0.4 × Sensor Anomaly Score
+ 0.4 × Network Anomaly Score
+ 0.2 × Topology Anomaly Score

This allows the system to detect cyber-physical attacks that affect both network behavior and physical processes.

6. Explainable AI Analysis

To make the system understandable to industrial operators, an Explainable AI module is implemented.

Technique used:

SHAP (Shapley Additive Explanations)

The module identifies the factors responsible for anomaly detection.

Example explanation:

Attack Detected: PLC Command Injection

Reasons:
• abnormal Modbus write command
• sudden pressure spike
• unauthorized device communication

7. Automated Incident Response

Once a threat is confirmed, the system triggers containment actions.

Response Engine

Possible mitigation strategies:

Block malicious IP address
Isolate compromised PLC
Disable unauthorized command execution
Segment affected network zone
Switch system to safe operational mode

A rule-based decision engine determines the appropriate response based on the threat score.

8. Security Monitoring Dashboard

The final component is a Security Operations Dashboard that provides real-time visibility.

The dashboard displays:

industrial network topology
detected anomalies
device risk scores
attack timeline
system health metrics

Operators can monitor system behaviour and take additional actions if necessary.